## Sheet1
Name | Data Type | Dimension | String Size | Initial Value | Direction | Attribute | Comment | Alias | Project Value | Version=2
(Name) | (DataType) | (Dimension) | (StringSize) | (InitialValue) | (Direction) | (Attribute) | (Comment) | (Alias) | (ProjectValue)
Temp_Chiller | REAL |  |  |  | Var | ReadWrite | Temperature of Condensor Output Water
Tower_FLT | BOOL |  |  |  | Var | ReadWrite | Tower Fault | Tower Fault | FALSE
Temp_SP | REAL |  |  |  | Var | ReadWrite | Temperature Setpoint From BAS
Humidity_Ambient | REAL |  |  |  | Var | ReadWrite | Humidity of Ambient Air
Fan_Speed | REAL |  |  |  | Var | ReadWrite | Fan Speed Setpoint from BAS
Temp_Tower | REAL |  |  |  | Var | ReadWrite | Temperature of Tower Return Water
Temp_Ambient | REAL |  |  |  | Var | ReadWrite | Temperature of Ambient Air
Tower_HAND | BOOL |  |  |  | Var | ReadWrite | Tower in HAND
Tower_AUTO | BOOL |  |  |  | Var | ReadWrite | Tower in AUTO
Cylinder_Position | REAL |  |  |  | Var | ReadWrite | Cylinder Position sensor
INTO_BW | BOOL |  |  | 0 | Var | ReadWrite | Into Backwash
Cylinder_Temp | REAL |  |  |  | Var | ReadWrite | Cylinder Temperature
Cylinder_CMD_Feedback | REAL |  |  |  | Var | ReadWrite | Cylinder Command Feedback
S1_STS_CHAN_OC | USINT |  |  |  | Var | ReadWrite
S1_STS_CHAN_OU | USINT |  |  |  | Var | ReadWrite
S1_STS_LED | USINT |  |  |  | Var | ReadWrite
S1_STS_REV_FPGA_0_MAJOR | USINT |  |  |  | Var | ReadWrite
S1_STS_REV_FPGA_1_MINOR | USINT |  |  |  | Var | ReadWrite
S1_STS_REV_MOD_0_MAJOR | USINT |  |  |  | Var | ReadWrite
S1_STS_REV_MOD_1_MINOR | USINT |  |  |  | Var | ReadWrite
S1_STS_REV_MOD_2_BUILD | USINT |  |  |  | Var | ReadWrite
S1_STS_WD_DISABLE | USINT |  |  |  | Var | ReadWrite
Slot_ID | UINT |  |  | 2 | Var | ReadWrite
Chiller_FLT | BOOL |  |  |  | Var | ReadWrite | Chiller Fault
Occupied | BOOL |  |  |  | Var | ReadWrite | Chiller or Tower Area Occupied
Pump_Speed | REAL |  |  |  | Var | ReadWrite | Pump Speed Setpoint from BAS
Floor_Enable | BOOL |  |  |  | Var | ReadWrite | Floor Temperature Control Enabled
Floor_Heat | BOOL |  |  |  | Var | ReadWrite | Floor Heating Enabled
Floor_Cool | BOOL |  |  |  | Var | ReadWrite | Floor Cooling Enabled
S1_CFG_CH_0_Parms | INT | [0..2] |  |  | Var | ReadWrite
S1_CFG_CH_0_Parms[0] | INT
S1_CFG_CH_0_Parms[1] | INT |  |  | 20000
S1_CFG_CH_0_Parms[2] | INT
S1_CFG_CH_0_string | STRING | [0..2] | 80 |  | Var | ReadWrite
S1_CFG_CH_0_string[0] | STRING |  | 80
S1_CFG_CH_0_string[1] | STRING |  | 80
S1_CFG_CH_0_string[2] | STRING |  | 80
S1_CFG_CH_1_Parms | INT | [0..2] |  |  | Var | ReadWrite
S1_CFG_CH_1_Parms[0] | INT
S1_CFG_CH_1_Parms[1] | INT |  |  | 20000
S1_CFG_CH_1_Parms[2] | INT
S1_CFG_CH_1_string | STRING | [0..2] | 80 |  | Var | ReadWrite
S1_CFG_CH_1_string[0] | STRING |  | 80
S1_CFG_CH_1_string[1] | STRING |  | 80
S1_CFG_CH_1_string[2] | STRING |  | 80
S1_CFG_CH_2_Parms | INT | [0..2] |  |  | Var | ReadWrite
S1_CFG_CH_2_Parms[0] | INT
S1_CFG_CH_2_Parms[1] | INT |  |  | 20000
S1_CFG_CH_2_Parms[2] | INT
S1_CFG_CH_2_string | STRING | [0..2] | 80 |  | Var | ReadWrite
S1_CFG_CH_2_string[0] | STRING |  | 80
S1_CFG_CH_2_string[1] | STRING |  | 80
S1_CFG_CH_2_string[2] | STRING |  | 80
S1_CFG_CH_3_Parms | INT | [0..2] |  |  | Var | ReadWrite
S1_CFG_CH_3_Parms[0] | INT |  |  | 32
S1_CFG_CH_3_Parms[1] | INT |  |  | 1000
S1_CFG_CH_3_Parms[2] | INT |  |  | 0
S1_CFG_CH_3_string | STRING | [0..2] | 80 |  | Var | ReadWrite
S1_CFG_CH_3_string[0] | STRING |  | 80
S1_CFG_CH_3_string[1] | STRING |  | 80
S1_CFG_CH_3_string[2] | STRING |  | 80
S1_CFG_Trigger | UINT |  |  | 1 | Var | ReadWrite
S1_Input_CH_0 | INT |  |  |  | Var | ReadWrite
S1_Input_CH_1 | INT |  |  |  | Var | ReadWrite
S1_Input_CH_2 | INT |  |  |  | Var | ReadWrite
S1_Input_CH_3 | INT |  |  |  | Var | ReadWrite
IF4U_S1_ModStatus | USINT | [1..1] |  |  | Var | ReadWrite | General Module Status
IF4U_S1_ModStatus[1] | USINT
IF4U_S1_OCStatus | USINT | [1..1] |  |  | Var | ReadWrite | Open-circuit Status
IF4U_S1_OCStatus[1] | USINT
IF4U_S1_UOStatus | USINT | [1..1] |  |  | Var | ReadWrite | Under/Over Range Status
IF4U_S1_UOStatus[1] | USINT
IF4U_S1_IN_0 | INT |  |  |  | Var | ReadWrite | IF4U Channel 0 Raw Humidity Data
IF4U_S1_IN_1 | INT |  |  |  | Var | ReadWrite | IF4U Channel 1 Data
IF4U_S1_IN_2 | INT |  |  |  | Var | ReadWrite | IF4U Channel 2 Data
IF4U_S1_IN_3 | INT |  |  |  | Var | ReadWrite | IF4U Channel 3 Data
IF4U_S1_IN_CJC | INT |  |  |  | Var | ReadWrite | IF4U Cold Junction Channel Data
Tower_LSLL | BOOL |  |  |  | Var | ReadWrite | Tower Level Switch Low Low |  | FALSE
Tower_Fan_OL | BOOL |  |  |  | Var | ReadWrite | Tower Fan Overload |  | FALSE
Chiller_CTWP_OL | BOOL |  |  |  | Var | ReadWrite | Chiller Water Pump Overload |  | FALSE
Chiller_PSLL | BOOL |  |  |  | Var | ReadWrite | Chiller Pressure Switch Low Low
Chiller_CTWP_Enable | BOOL |  |  |  | Var | ReadWrite | CTWP Enable
Tower_LSL | BOOL |  |  |  | Var | ReadWrite | Tower Level Switch Low
Chiller_PSL | BOOL |  |  |  | Var | ReadWrite | Chiller Pressure Switch Low
Tower_Fan_Enable | BOOL |  |  |  | Var | ReadWrite | Fan Enable
HMI_Tower_Fan_AUTO | BOOL |  |  |  | Var | ReadWrite | Control of Fan is Remote AUTO
HMI_Tower_Fan_OFF | BOOL |  |  |  | Var | ReadWrite | Control of Fan is OFF
HMI_Tower_Fan_HAND | BOOL |  |  |  | Var | ReadWrite | Control of Fan is Local ON
HMI_Tower_CTWP_OFF | BOOL |  |  |  | Var | ReadWrite | Control of CTWP is OFF
HMI_Tower_CTWP_AUTO | BOOL |  |  |  | Var | ReadWrite | Control of CTWP is Remote AUTO
HMI_Tower_CTWP_HAND | BOOL |  |  |  | Var | ReadWrite | Control of CTWP is Local ON
Tower_PSL | BOOL |  |  |  | Var | ReadWrite | Tower Pressure Switch Low
Tower_PSLL | BOOL |  |  |  | Var | ReadWrite | Tower Pressure Switch Low Low
Makeup_Water_Control | BOOL |  |  |  | Var | ReadWrite | Tower Makeup Water Control
Drain_Water_Control | BOOL |  |  |  | Var | ReadWrite | Tower Drain Water Control
Drain_Water_OFF | BOOL |  |  |  | Var | ReadWrite | Tower Drain Water OFF
HMI_Temp_SP | REAL |  |  | 80.0 | Var | ReadWrite | Temperature SP for Tower HAND
HMI_Floor_Heat | BOOL |  |  |  | Var | ReadWrite | Floor Heating Enabled from HMI
HMI_Floor_Cool | BOOL |  |  |  | Var | ReadWrite | Floor Cooling Enabled from HMI
Temp_Floor | REAL |  |  |  | Var | ReadWrite
Temp_Floor_Raw | INT |  |  |  | Var | ReadWrite
Temp_Ambient_Raw | INT |  |  |  | Var | ReadWrite
Temp_Chiller_Raw | INT |  |  |  | Var | ReadWrite
Temp_Tower_Raw | INT |  |  |  | Var | ReadWrite